EXAMPLE

|  |
| --- |
| **INSPECTION and TEST - REPORT****ELECTRICAL** |
| Contract:Client: Checklist Ref.: | Lot No.:Location:  | **Lot Opened:** |
| **Lot Closed:**Name: |
| **Comments:** *(Delays/Disruption,Improvements,Other)* | Signature: |
|  |
|  |
|  |
| **No.** | **Process** | **Spec/Std/Dwg** | **Acceptance Criteria** | **Pass** | **Fail** | **CAR Ref:** | **Initial(ITP)** | **Date** |
| 1 | Subcontractor Review |  |  |  |  |  |  |  |
| 2 | Safety Induction |  |  |  |  |  |  |  |
|  | UNDERGROUND CABLING |  |  |  |  |  |  |  |
| 3 | Monitor installation of conduits, ducts:. Type and material.. Size. Location |  |  |  |  |  |  |  |
| 4 | Inspect conduits, ducts prior to backfilling:. Entries sealed.. Draw cords.. Free from crimps, bends. |  |  |  |  |  |  |  |
| 5 | Approve columns (ext.). |  |  |  |  |  |  |  |
|  | SWITCHBOARDS |  |  |  |  |  |  |  |
| 6 | Approve Switchboard Manufacturer. |  |  |  |  |  |  |  |
| 7 | Check switchboard(s) delivered to Site. |  |  |  |  |  |  |  |
| 8 | Check installed switchboards. |  |  |  |  |  |  |  |
|  | LUMINAIRES |  |  |  |  |  |  |  |
| 9 | Test luminaires. |  |  |  |  |  |  |  |
| 10 | Check luminaires:. Type. Make and model.. Colour/Finish. Capacity/Output. Position/Support/Fixings |  |  |  |  |  |  |  |
|  | COMMUNICATIONS |  |  |  |  |  |  |  |
| 11 | Provide "As Installed" Drawings. |  |  |  |  |  |  |  |
| 12 | Testing |  |  |  |  |  |  |  |
| 13 | Monitor installation:. Equipment. Cabling. Location |  |  |  |  |  |  |  |
|  | FIRE DETECTION |  |  |  |  |  |  |  |
| 14 | Monitor installation:. Cabling. Detectors. Call Points. Alarm Bells. Fire Control Panel |  |  |  |  |  |  |  |
| 15 | Submit Test Reports |  |  |  |  |  |  |  |
| 16 | Provide Certification |  |  |  |  |  |  |  |
|  | MECHANICAL |  |  |  |  |  |  |  |
| 17 | Provide Guarantee and Certification |  |  |  |  |  |  |  |
| 18 | Check walls - All services roughed in prior tosheeting. |  |  |  |  |  |  |  |
| 19 | FINAL INSPECTION (Including review of recordsfor Items 3 to 18 above.) |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **Note: Ensure all certificates, records and photos are attached to the Inspection Report** |

Page 1 of 1