EXAMPLE

|  |
| --- |
| **INSPECTION AND TEST PLAN** |
| **CARPET** |
| **PROJECT: CONTRACT No.: CLIENT:****ITP No.** | **Inspector/Characteristics**R: Report/Record Submitted/Test Results X: InspectionH: Hold PointW: Witness Point | Authorised by Client:Date: | Prepared by: |
| Approved for Use: (Quality Manager/Date) |
| Revision:Date: |
|  |
| **Inspector / Characteristics** |  |
| **Ref** | **Process Description** | **Spec / Std / Drawings** | **Acceptance Criteria** | **Frequency** | Subcontract | PC | Client | **Verifying Records** |
| 1 | Subcontractor Review |  |  |  |  |  |  |  |
| 2 | Safety Induction |  |  |  |  |  |  |  |
| 3 | Approve samples of materials asfollows: |  |  |  |  |  |  |  |
| 4 | Check deliveries of materials as follows:1. Carpet
2. Underlay
3. Grippers, edge strips, etc.
4. Adhesives
 |  |  |  |  |  |  |  |
| 5 | Approve sample laid area. |  |  |  |  |  |  |  |
| 6 | Check preparation of substrate as follows:1. Concrete
2. Timber
 |  |  |  |  |  |  |  |
| 7 | Check grippers, etc. |  |  |  |  |  |  |  |
| 8 | Check underlay (where specified). |  |  |  |  |  |  |  |
| 9 | Check laid carpet as follows:1. Carpet
2. Division Strips
 |  |  |  |  |  |  |  |
| 10 | Check protection. |  |  |  |  |  |  |  |
| 11 | Obtain guarantees. |  |  |  |  |  |  |  |
| 12 | FINAL INSPECTION - (Including review of records for Items 3 to 11 above). Check cleaning and spare carpet. |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
| **Note: Ensure all certificates, records and photos are attached to the Inspection Report** |

Page 1 of 1